Iron analysis lab report guidelines

- What is the purpose of the hydroxylamine hydrochloride?  What could happen, analytically, if it weren’t present in all of the solutions?  How would this affect the calibration curve?

- Find an image of the iron/phenanthroline complex and add it to your report.  Cite your source.  Choose one that you feel best (most accurately and most completely) represents the molecule.  Explain why you choose this one and why it was better than other ones (which implies that you must comment on the problems with other images).

- Create a calibration curve using your data.

- Determine the best straight line through the data using linear regression analysis.

- Include a print out of your calibration curve data and the output of the linear regression analysis.

- Report the best straight line in the following way:

Abs = (xxxxx  xx)Conc. + xxxxx  xx

n = xx    r = xxx   s.e. =  xx     F = xxxxx

Fill in the x’s with the appropriate values for slopes, intercepts, uncertainties in slopes, etc.

It is important to report the uncertainty in the slope and intercept.  Report 2 sig. figs. of each uncertainty.  Report the value of the slope and intercept to the correct corresponding number decimal places (i.e., not the corresponding number of sig figs, but to the digits where the uncertainty begins).  See me if this is not clear.

‘Unknown’ solution analysis using regular calibration curve

___________________________________________________________________________

- Determine the concentration of the unknown Fe solution you prepared in lab (not the unknown stock, but the solution that was put into the spectrometer).

- Calculate the uncertainty associated with the unknown Fe concentration you just reported.  To do this, use the handout from Harvey’s book that we went through.  Show ALL of you work.  Make it easy to follow what numbers you are plugging into the equation and where those numbers are coming from.

- Determine the concentration of the Fe unknown stock solution based on your answer in 7 and considering the dilution(s) you did.

- Calculate the uncertainty in the Fe unknown stock concentration you just calculated.  THINK about this.  Think about the mathematics you did.  How do you propagate uncertainty?  Make reasonable estimates of uncertainties in the measurements involved.  Again, be clear and explicit.  Anybody should be able to easily follow your work.  See me if you have questions about this.

- Calculate the concentration of Fe in the ‘unknown’ stock solution using the masses and volumes labeled on the solution.

- Calculate the percent error in your value compared to the known (i.e., true) value.  Comment on your result.

Tablet analysis using regular calibration curve

_____________________________________________________________________________

- Determine the concentration of the Fe in the solution you analyzed that was derived from the multivitamin tablet (i.e., the concentration of the solution that was put into the spectrophotometer).

- Calculate the uncertainty associated with the Fe concentration you just reported.  To do this, use the handout from Harvey’s book that we went through.  Show ALL of you work.  Make it easy to follow what numbers you are plugging into the equation and where those numbers are coming from.

- Now calculate the number of milligrams of Fe in the multivitamin tablet by taking into account the dilutions you did.

- Calculate the uncertainty the milligrams you just calculated.  THINK about this.  Think about the mathematics you did.  How do you propagate uncertainty?  Make reasonable estimates of uncertainties in the measurements involved.  Again, be clear and explicit.  Anybody should be able to easily follow your work.

- Calculate the percent error in your result compared to the amount of Fe stated on the bottle.  Comment on your result.

Iron standard addition curve lab report guidelines

_____________________________________________________________________________

- Find a book (note, a book – not a website), that describes the method of standard additions.

- Photocopy the discussion of the method and turn in the pages with this report.  Make sure you write a proper reference on the first page (author, title, publisher, place of publication, and year).

You may NOT use our textbook as the source, but you may certainly consult it to help with your data analysis below.

- Write a one-page summary/explanation of the method of standard additions.  Be sure to explain when it is most crucial to use the method of standard additions.  In other words, why can’t you always just create a calibration curve in a nice, easy solvent (like water or an organic solvent), and then use regular calibration curves to determine the concentrations of analytes in complex matrices?  Make sure your explanation is in your own words and demonstrates a complete understanding of the method.

- In your summary, be sure to define and explain ‘matrix effects’.

- Lastly, in your report, plot your data (consult the reference you found about how to do this for the method of standard additions).  Use Excel’s regression package to determine the slope and intercept of the best-fit line through your data.

6.	Include a print out of your calibration curve data and the output of the regression analysis.

7.	Report the best straight line in the following way:

Abs = (xxxxx  xx)Conc. + xxxxx  xx

n = xx    r = xxx   s.e. =  xx   F = xx

8.	Using the reference you have found as a guide, determine the concentration of iron and its uncertainty in the solution that you put into the spectrophotometer.  See Harris p. 104 for calculating the uncertainty of a concentration derived from a standard addition curve.

9.	Now, knowing the dilution scheme you followed, determine the number of milligrams in your iron tablet and the uncertainty in that value (remember to use correct propagation of uncertainty calculations).

10.	Compare the slope you obtained with the calibration curve to the slope you obtained with the regular calibration curve.  Are matrix effects present?  Remember to not just say ‘they are the same’ or ‘they are different.’  Consider the uncertainties.  Are they statistically the same to one standard deviation or not?  If not, by what percent are they different (e.g., 2% different, 20% different? etc.).  Make quantitative, statistical statements.